| MV QUESTIONS |  |  |  |
| --- | --- | --- | --- |
| Environmental conditions are acceptable | - Activity and circulation are temperatures set at appropriate levels |  |  |
| Is an Energy Performance Certificate (EPC) displayed? | - An up to date EPC (no smaller than A3) should be displayed in a prominent place that is clearly visible to members of the public |  |  |
| As a customer, were you encouraged to help the facility with environmental management? | - Environmental policies and other information - Environmental initiatives are evident |  |  |
| ASSESSMENT CHALLENGE |  |  |  |
| Does the facility have an Environmental Policy displayed for customers and known by staff? | - Environmental policy in place and understood by staff |  |  |
| Are action plans in place, with actions implemented to reduce the consumption of utilities and CO2 omissions? | - Energy management plan |  |  |
| Is there a regular testing regime in place for the management of water? | - Pool water treatment - Spa water treatment - Pool/spa water testing recorded - Balance water testing - Water systems and treatment – legionella |  |  |
| Have staff been trained in environmental awareness? | - Good housekeeping awareness training |  |  |
| Is there a designated competent ‘Green Champion’? | - Facility specific environmental champion |  |  |
| Is utility consumption measured and reviewed? | - Electricity - Gas - Water - Combined Heat and Power (CHP) |  |  |
| Is there an active policy of recycle, reduce, reuse, and replace? | - Recycling – staff and customer - Reduce the amount of waste - Reuse policy - Replace policy - Environmentally friendly purchasing - Use of local suppliers - Recycled waste is measured and analysed |  |  |
| Is there an internal monitoring/audit process in place? | - Periodic auditing - Self-assessment |  |  |
| Can the facility demonstrate a reduction in utility consumption as a result of actions taken? | - Up to date and reduced EPC score - Reduced utility consumption |  |  |